Maximum Power Point Traking of Wind Turbine

Conversion chain variable speed based on DFIG

H. Becheri 1, I. K. Bousarhanne 1, A. Harrouz2 , H. Glaoui 1, T. Belbekri

1 Department of Technologie, Faculty of Techologie , University of Bechar, Algeria

2 Department of Hydrocarbon and Renewable Energy, Faculty of Science and Technology, University of Draïa, Algeria

| Article Info |  | ABSTRACT |
| --- | --- | --- |
| Article history: Received Aug 18th, 2017 Revised Aug 20th, 2017 Accepted Aug 26th, 2017 |  | Wind energy has many advantages, it does not pollute and it is an inexhaustible source. However, the cost of this energy is still too high to compete with traditional fossil sources. The yield of a wind turbine depends on three parameters: the power of the wind, the turbine power curve and the ability of the generator to respond to fluctuations in the wind. This article presented the MPPT of a wind turbine system equipped with an asynchronous generator has dual power under Matlab Simulink program, in the first time we simulated all the conversion chain with complete model of DFIG and vector control in second step then applied the extracted maximum power MPPT strategists, this command is effective and has several advantages it offered to kept the maximum power delivered to network despite all the parameter is change. |
| Keyword: DFIG Power supply Vector control MPPT Fifth keyword |  |  |
|  |  | Copyright © 2017 Institute of Advanced Engineering and Science. All rights reserved. |
| Corresponding Author: Houcine Becheri, Departement of Technologie, Faculty of Techologie, Tahri Mohamed University, University Tahri Med, Street Knadssa, Bechar 08000, Algeria. Email: houcine.becheri@gmail.com |  |  |

- INTRODUCTION

Electrical energy is crucial to any socio-economic development [1]. The demand for electricity is very important to this dilemma, it is necessary to appeal to new energy sources that will be without consequence for man and environment.

Wind energy represents a sizeable potential for bearing damping demand increasingly rampant, after centuries of evolution and further research in recent decades and some wind power projects developed by major central wind turbines provide electricity in parts of the world at a competitive price than the energy produced by conventional plants [2].

Today, the development and proliferation of wind turbines have led researchers in Electrical Engineering to conduct investigations in order to improve the efficiency of electromechanical conversion and quality of the energy supplied [3]. It is in this context that this paper describes that we present a study on the use of asynchronous machines has dual power in a wind system. Initially modeling and conversion system simulation (turbine and asynchronous generator dual feed) Then the vector control in stator active and reactive powers are proposed in a last step And improved the system study and extract maximum power presents MPPT strategists and the simulation results.

The objective of this paper is to develop a novel combined MPPT-pitch angle control system of a variable speed wind turbine.

- MODELLING WIND POWER SYSTEM

  - Model of the wind turbine

The wind turbine collects the kinetic energy of the wind and converts it into a torque, which turns the blades of the rotor [3]. In our study, this system used a wind turbine based on DFIG, which supplies to generate the torque required to the load, Fig.1.

Figure 1. Schematic of the wind turbine.

    - Wind modeling

In our case, the wind speed will be modeled as a sum of several harmonics [5]:

Vt=10+0.2sin0.1047t+2sin(0.2665t)+sin(1.2930t)-0.2sin(3.6645t) 		(1)

    - Aaerodynamic power

Pt=12.Cpλ,β.ρ.S.v3Pt=12.Cpλ,β.ρ.S.v3                                                                                  (2)

Which  is defined by:	λ=Ωt.Rv            	                                  				(3)

The coefficient of power Cp represents the aerodynamic efficiency of the wind turbine. We will use an approximate expression of the power coefficient given by [6]:

Cpλ,β=(0.35-0.00167)).(β-2).sinπ.λ+0.114.34-0.3.β-2-0.000184.(λ-3).(β-2) 	(4)

The simulation of the power coefficient is shown in Fig. 2:

Figure 2.  Cp (λ,ß) Characteristics for various values of  pitch angle ß

The aerodynamic torque is expressed as follows:

Ct=PtΩt=π2.λρ.R3.v2.Cp(λ,β)Ct=PtΩt=π2.λρ.R3.v2.Cp(λ,β)	             				                (5)

For the mechanical part can thus lead to a more simple mechanical model [7 and 14] (Figure 3). The dynamic behavior of the generator can be represented by the following equation:

(6)

Where Jt is the rotational moment of inertia of the rotor and the generator kg.m², ω is the angular velocity of the rotor in red / s, Te is the mechanical torque applied to the alternator shaft in Nm, Tem is the electromagnetic torque developed by the generator in Nm and  fm  is the viscous friction coefficient in Nm.

Figure 3. Mechanical model of turbine.

  - DFIG Modeling

We modeled the DFIG with the implementation of the transformation of the park following Repository related rotating field This repository is called system of axes (X, Y), it rotates with the speed of the electromagnetic field is obtained [9]:

The stator:        uds=Rsids+dφdsdt-ωsφqsuqs=Rsiqs+dφqsdt+ωsφdsuos=Rsios+dφosdt  							(7)

The rotor:         udr=Rridr+dφdrdt-ωs-ωrφqruqr=Rriqr+dφqrdt+(ωs-ωr)φdruor=Rsior+dφordt 						(8)

The equations of flow and after the simplification are:

φds=Lsids+Midrφqs=Lsiqs+Miqrφos=Lsios  									(9)

Also for the rotor and in the same way are:

φdr=Lridr+Midsφqr=Lriqr+Miqsφor=Lrior  									(10)

Doubly-Fed Induction Generator model of the landmark Park in the form of state:

didsdt=1Lsσ(uds-Rsids+MRrLridr+ωsσ-PΩrσ-1Lsiqs-MLrudr+PΩrMiqr)diqsdt=1Lsσ(uqs-Rsiqs+MRrLriqr+ωsσ-PΩrσ-1Lsids-MLrudr+PΩrMiqr)didrdt=1Lsσ(udr-Rridr+MRrLsids+σ-1MPΩrLsLriqs-MLsuqs+ωsσ-PΩrLsiqr)diqrdt=1Lrσ(uqr-Rriqs+MRsLsiqs+ωsσ+PΩrLridr-MLruqs+PΩrMids)dΩrdt=-3PM2Lr(φdsiqr-φqsidr)-Crj-frjΩr

Where: σ=1-M2LsLrσ=1-M2LsLrσ=1-M2LsLr   is the dispersion coefficient.

The expression of the electromagnetic torque of the DFIG in reference Park [10]. The general form of electromagnetic torque is:

Cem=3PM2Lrφdriqs-φqrids=-3PM2Lr(φdsiqr-φqsidr) 					(11)

  - Power Modeling DFIG

    - Modeling of phase rectifier diodes

If we neglect the effect of encroachment, the rectifier output voltage will be defined as following:

Vredt=MaxVat.Vbt.Vct-Min[Vat.Vbt.Vct] 					(12)

    - Modeling of DC bus

To reduce the ripple of the voltage source adding a low pass filter LC Their operation is governed by the following equations:

dIddt=Vred-VDCLfdVDCdt=Id-Iscf										(13)

    - VDC Association to DFIG

We will have the following system:

VAVBVC=VDC32-1-1-12-1-1-12.S1S1S1 							   (14)

In our case, the control of the switches of the inverter is performed by use of the command modulation or PWM pulse width.

- MAXIMUM POWER EXTRACTION TECHNIQUE

The goal of the (MPPT) strategy is to pick up the maximum power from the wind; it involves the following of the power curve shown in “Fig.4”, given by in equation (15):

(15)

Figure 4. MPPT and power characteristics in function of mechanical speed

An erroneous speed measurement therefore inevitably leads to degradation of the power captured by the first extraction technique. This is why most wind turbines are controlled without control of the speed. This second control structure based on the assumption that the wind speed varies very little steady state.

- APPLICATION VECTOR CONTROL WITH THE ORIENTATION FLOW STATOR

We consider the DFIG works in hypersynchronous mode, the principle is to direct the stator flux along the axis of the rotating frame [9].

So we have:    φds=φs      φds=φsand we have:      φqs=0φqs=0φqs=0 Relations between current stator and rotor currents:

The technical guidance of stator flux is applying on the couple become:

Ce=-32PLmLrφsd.Irq									(16)

If neglecting the resistance of the stator winding R_S, voltage expressions become:

Ce=-32PLmLrφsd.Irq									(17)

If neglecting the resistance of the stator winding R_S, voltage expressions become:

Vsd=0Vsq=Vs=ωs.φsdVsd=0Vsq=Vs=ωs.φsd									(18)

φs=φsd=Ls.Isd+Lm.Ird0=Ls.Isq+Lm.Irqφs=φsd=Ls.Isd+Lm.Ird0=Ls.Isq+Lm.Irq								(19)

From this equation, we can write the equations linking the stator currents to the rotor currents:

Isd=φsLs-LmLsIrdIsq=-LmLsIrq									(20)

#### Relations between the stator and rotor currents powers:
The stator active and reactive power of an asynchronous machine are written:

Ps=Vsd.Isd+Vsq.IsqQs=Vsq.Isd-Vsd.Isq		           							(21)

The adaptation of these equations axis system chosen and the simplifying assumptions made in this case Vsd=0 et Vs=VsqVsd=0 et Vs=Vsq given:

Ps=Vs.IsqQs=Vs.Isd                                            							(22)

By replacing the stator currents by their values we get the expressions:

Ps=-VsLmLsIrqQs=Vs2Lsωs-VsLmLsIrdPs=-VsLmLsIrqQs=Vs2Lsωs-VsLmLsIrd		         							(23)

Relations between rotor and rotor currents tensions:

One could express the rotor voltages depending on rotor currents, we can write:

Vrd=RrIrd+LrLm2LsddtIrd-gωsLr-Lm2LsIrqVrq=RrIrq+LrLm2LsddtIrq+gωsLr-Lm2LsIrd+gLmVsLs   					(24)

In steady state, the terms involving derivatives disappear, we can write:

Vrd=RrIrd-gωsLr-Lm2LsIrqVrq=RrIrq+gωsLr-Lm2LsIrd+gLmVsLs    						(25)

Vector control in stator wind power system based on a PI controller [13,14]:

  - Direct Vector Control

This control mode ensures proper decoupling between flux and torque but the problem this disadvantage by the sensor.

We neglect the terms of coupling between the two axes of control because of the low value of the slip. We are getting as shown in “Fig.5”:

Figure 5. Block diagram of the direct control.

  - Vector control indirectly

The flow is controlled in open loop. It is not measured or estimated. The quantities (voltage or current) ensuring the flow direction and are evaluated `decoupling from the equations of the machine transient.

The values of the rotor voltages depending on power and found we calculate:

Vdr=gωsLr-Lm2LsVsLmLs*P-Rr+Lr-Lm2LsVsLmLs*Q+RrVsωsLm+Lr-Lm2LsVsωsLmSVqr=-Rr+Lr-Lm2LsVsLmLsS*P- gωsLr-Lm2LsVsLmLs*Q+gωsLr-Lm2LsVsωsLm			(26)

The Fig.6 shown the isolation carried at the outputs of regulators in rotor currents without any return to the system.

Figure 6. Iindirect command without power loop.

The figure 7 shown the method of control with power. In this method, the isolation is carried out at the outputs of the current regulators rotor with a return of the system.

Figure 7. Iindirect control with power loop.

- RESULTS

To evaluate and test the indirect control technique with power loop of active and reactive power by the PI controllers, a simulation was performed under the MATLAB / Simulink. In this case, the gains of the PI controllers are based to method of design, which is based on the compensation of the time constant of the regulator with that of the process of the quantity to be regulated, and were refined after simulation:

- For the power loop: k_p = 75.75; K i = 5354.55.

- For the current loop: k_p = 75.75; K_i = 5354.55.

Figure 8. Stator current.  	                                            Figure 9. Rotor current.

Figure 10. Speed wind.	                                               Figure 11. Rotor Speed.

Figure 12. Stator active power	.                               Figure 13. Stator reactive power.

Figure 14. Comparison between Wr and Wr with MPPT.

- DISCUSSION

We obtained good results in dynamic handling and response to regulations imposed and reactive power. The fluctuations in the power due to the PWM inverter and the dependence of these powers slip. The figure 7 and 8 shown the results of the stator current and rotor current that have the same paces with the trend of the wind and the power. Are sinusoidal, implying a clean energy without harmonics supplied or absorbed by the DFIG.

The results obtained in figures 12, 13 and 14, we can conclude that this type of control is more efficient than direct control in terms of a variable speed operation, since it is able to provide a decoupled control of active power and responsive regardless of the drive speed.

- CONCLUSION

This paper present the modelling of the various components of a wind system for distributed generation of electricity and the study of different double-fed asynchronous machine control systems (DEIG) representing generator for production this energy.

In the second part, we have begun the maximum power extraction technique in the operation of the wind; this method proves and gives good results for the maximum generated power to the grid.
               Subsequently, we developed vector of control reactive power in the stator level, the proper follow instructions for the two powers by the real powers debited by the stator of the machine showed the effectiveness of the applied control.

NUMECLATURE

DFIG                                Doubly Fed Induction Generator

ρ                                       Air density

S                                       turbine area

v                                       Wind Speed

PC                                     power extraction coefficient

s (R)                                  index of the stator (rotor)

d, q                                    indices Park repository

V (I)                                  voltage (current)

P (Q)                                 active power (reactive)

φ                                       Magnetic flux

Cem (Cr)                          electromagnetic torque (mechanical)

R                                       Resistance

L (M)                                 Inductance (mutual)

σ                                       Coefficient leaks, σ = 1 - M 2 / LsLr

θr (θs)                                Position of the rotor (stator)

ωr (ωs)                              electric speed rotor (stator)

Ω                                       Mechanical speed

g                                        Slip

f                                        Friction

J                                        Inertia

P                                        Number of pole pairs

Parameters of system:

R =35.25 m; G= 90 m; J=0.1Kg.m2.

Vs=220/381; Vr=18/31 V; f=50 Hz; fr=14 Hz.

R=0.3 Ω; L=0.014 H; C= 2 e-3 F;

Udc=620 V; Rch= 85 Ω; E=220 V.

REFERENCES

A. Harrouz, A. Benatiallah, O. Harrouz, "Modeling of small wind energy based of PMSG in south of Algeria", IEEE Explore, Second International Symposium on Environment-Friendly Energies and Applications (EFEA2012), Northumbrie University, UK. pp.191 – 195, 2012.

A. Harrouz, A. Benatiallah, O. Harrouz. “Electric Control and Meteorological Validation of Sensors in Dynamic Metering System of Fluids”, International Journal of Power Electronics and Drive System (IJPEDS), ISSN: 2088-8694, Vol. (3) No.4, Dec 2013, pp. 450-458.

Hachemi Glaoui, Harrouz Abdelkader, Ismail Messaoudi, Hamid Saab, “Modeling of Wind Energy on Isolated Area”, International Journal of Power Electronics and Drive System (IJPEDS), 10.11591/ijpeds.v4i2.4859, ISSN: 2088-8694, Vol. (4) No.2, JUIN 2014, pp. 274-280.

A. Mirecki "Comparative chains of energy dedicated to a small wind turbine conversion study" Thesis in Electrical Engineering Laboratory and Industrial Electronics The ENSEEIHT, University of Toulouse April 5, 2005.

L.HAMZAOUI, "Modeling the dual asynchronous machine supply for use as wind turbine," Magister Thesis in Electrical Engineering, National Technical University, 20/01/2008.

S. El AIMANI, B. Francis F. Minne, B. Robyns, "Comparisonanalysis ofcontrol structures for variable speed wind turbine", Proceedings of CESA, 2003, Lille, France, in July 2003.

F.Z.ARAMA, "Study and Control of asynchronous generator for the production of wind energy" Magister thesis in electrical Genie, National Technical University of Oran, Algeria, in 2013

Slama EL MAGNET, "Modeling Different Aeolian Technologies Integrated into a network Average Tension," The School of Doctoral Thesis

R. ABDESSMED Mr. KADJOUJ; "Electrical Machines Modelling", University Press of Batna, Algeria 1997.

V. PAUL-ETIENNE, "Order Non-Linear of Asynchronous Machine Dual Power", PhD in Electrical Engineering, National Polytechnic Institute of Toulouse, France, 2004.

A.CHAIBA, "Order of the asynchronous machine has dual power by techniques of artificial intelligence," Thesis in Electrical Engineering, University of Batna, Algeria, in 2010.

A. L. NEMMOUR; "Contribution to the Vector Control of Asynchronous Machine Dual Power"; Magister thesis in electrical engineering, University of Batna, Algeria, 2002

A.MEHDARY "Emde chiane a wind energy conversion based on a AEROTURBINE". 6th Days of PhD students. Information science laboratory and LSIS systems. University of St. Jerome. Marseille. 2009.

H. BECHERI "Contribution to the sensorless control and maximum power search of a wind conversion chain" Magister Automatic Memory, University of Bechar, Algeria, in 2014.H.BECHERI «Contribution à la commande sans capteur et recherche de maximum de puissance d’une chaine de conversion éolienne» Mémoire de Magister en Automatique, Université de Bechar, Algérie, 2014.

BIBLIOGRAPHY OF AUTHORS (10 PT)

|  | BECHERI Houcine was born in Bechar, Algeria, on August 18, 1987. 2005 high school in science, He received the electrotechnical engineering degree from the University of Tahri Mohammed, Bechar, Algeria, in 2010 and Magister degree from University of Tahri mohammed, Bechar, in 2014 and he is in 4th year doctorate in Electrical engineering. He did search in different commande of separately DC machine and he has an article of DC machine in ELEN Journel on 2016, and his current research in Artificial intelligence control for wind systems. |
| --- | --- |
| Second author’s photo(3x4cm) | Dr. BOUSSERHANE Ismail Khalil was born in Bechar, Algeria, on August 18, 1977. He received the electrotechnical engineering degree from the University of science and technologie, Oran, Algeria, in 2004 and Magister degree from University of science and technologie, Oran, in 2014 and Ph.d. degree in Electrical engineering from University of science and technologie, Oran, in 2008 . He has been with Departement of electrical engineering, University of tahri Mohammed, Bechar, Algeria. His current research in Artificial intelligence control for wind systems, control of different type of machines, Advanced Dynamic Systems Control. |
|  | Dr. Harrouz Abdelkader obtained Engineer in electrotechnique 2001 from university of bechar, algeria, after that, Magister ‘Automatique’ : Advanced dynamics command systems from Bechar University on 2012, And the Ph.D degree from the Electrical Engineering Institute of the University Bechar in 2016, Algeria. He worked as inspector of mesurement in the Office National of Measurements from 2003 to2012. Presently he is working as assistant professor on Departement of Hydrocarbon and Renewable Energy, Adrar University, Algeria. His areas of interest are metering Systems, Power Systems, and Automation. He is member of Laboratory of Energy Environment and System Information (LEESI). He has published many papers in International Journals and presented several papers in national and international conferences. |
|  | Dr. Hachemi Glaoui- was born in 1977 in Bechar-Algeria, he’s received the electrical engineering diploma from Bechar University,-Algeria in 2001, and the Magister degree from the University Bechar Algeria in 2008. And the Ph.D. degree from the Electrical Engineering Institute of the University Bechar in 2012 ently, he is an assistant professor at Bechar University. He is currently professor of electrical engineering at University of Bechar, Algeria, Professor of electrical engineering at University of Bechar, Algeria. E-mail: mekka60@gmail.com |
|  | BELBEKRI Taher was born in Bechar, Algeria, on April 09, 1987. 2005 high school in science, He received the electrotechnical engineering degree from the University of Tahri Mohammed, Bechar, Algeria, in 2010 and Magister degree from University of Tahri mohammed, Bechar, in 2014 and he is in 4th year doctorate in Electrical engineering. He has been with Departement of technologie, University of Draia ahmed, Adrar, Algeria., and his current research in Artificial intelligence control for MAS. |