-Controlled the temperature and humidity of outdoor air by thermoelectric and silica gel.

-Operated of hybrid air ventilation by monitoring control

-Confirm electric voltage for thermoelectric in process at 9 volts

-Evaluated the carbon dioxide reduced by hybrid air ventilation system

-Obtained application of air ventilation system in the future.